## Front Cover
Lift Replacement Works
Albion, Redbridge & Shirley Towers
Contract Sum Analysis

## Summary
Project: | Albion, Redbridge & Shirley Towers - Lift Replacements
Ref: | RP300399
Summary
| DESCRIPTION |  | Cost
| Pricing Notes & Preambles |  | 0
| Preliminaries |  | 0
ALBION TOWERS
| Works - Lift 1 |  | 0
| Works - Lift 2 |  | 0
| Servicing & Maintenance Lift 1 |  | 2500
| Servicing & Maintenance Lift 2 |  | 2500
REDBRIDGE TOWERS
| Works - Lift 1 |  | 0
| Works - Lift 2 |  | 0
| Servicing & Maintenance Lift 1 |  | 2500
| Servicing & Maintenance Lift 2 |  | 2500
SHIRLEY TOWERS
| Works - Lift 1 |  | 0
| Works - Lift 2 |  | 0
| Servicing & Maintenance Lift 1 |  | 2500
| Servicing & Maintenance Lift 2 |  | 2500
| Sub Total |  | 15000
| Provisional Sums |  | 150000
|  | Total | 165000

## Pricing Notes Preambles
PROJECT REFERENCE: RP300399
0
PRICING NOTES & PREAMBLES
A | The project is being procured on a fixed-price, lump-sum basis using the JCT 2011 Intermediate Works Contract with Contractors Design (Without Quantities) unless stated as approximate within the schedule. The Works are to be priced on a ‘Specification and Drawings’ basis as per Section A20.
B | The purpose of the Pricing Document is to act as an Aide-Memoire for your pricing, and to provide a mechanism for our analysis and comparison of Tender’s received.
C | It is NOT a Schedule of Works or BQ, and is not necessarily exhaustive of all Works required – i.e. you must allow for ALL WORKS shown on the drawings and in the specification; regardless of whether noted in the Pricing Document or not.
D | Please add any additional items you’ve identified into the appropriate section of the Pricing Document.
E | We have where possible included quantities, however these are not to be relied upon, and the Contractor should undertake his own take-off to satisfy himself that they are correct and make any necessary amendments to the quantities and add any additional items as required.
F | The Contract is 'Without Quantities' and will not be subject to re-measurement, unless annotated as "APPROXIMATE" in which case the Contractor must price the item which will be treated as a Provisional Sum.
PREAMBLES
G | This pricing analysis shall form the basis of the contract sum analysis as referred to in the conditions of the contract.
H | The analysis has not been prepared in accordance with SMM7 and the contractor must not rely upon the quantities or the completeness of the analysis.
J | The breakdown is indicative of the extent of the work and the contractor must satisfy himself as to the quantities and completeness of the analysis adding or amending items as appropriate. The analysis will be used for purposes of interim valuations and the valuation of variations
K | Any works not identified within the analysis will be deemed to be included elsewhere within the rates which formulate the contract sum.
TOTAL CARRIED TO SUMMARY

## Prelims
Project: | Albion, Redbridge & Shirley Towers - Lift Replacements
Ref: | RP300399
Preliminaries
Description |  | Quantity | Unit | Rate | Total
100 week contract period
Management & Staff |  |  |  |  | 0
QS |  |  |  |  | 0
Site Agent/ Working Foreman |  |  |  |  | 0
Welfare |  |  |  |  | 0
Storage |  |  |  |  | 0
Plant and tools |  |  |  |  | 0
Consumables |  |  |  |  | 0
Insurances |  |  |  |  | 0
Bond |  |  |  |  | 0
Parent Company Guarantee |  |  |  |  | 0
Condition Survey |  |  |  |  | 0
Post contract documents incl completion documentation |  |  |  |  | 0
Hoist |  |  |  |  | 0
Protective covers - polythene dust sheeting |  |  |  |  | 0
Scaffold licence |  |  |  |  | 0
Scaffold design |  |  |  |  | 0
Scaffolding |  |  |  |  | 0
Site compound and hoarding; including design calculations |  |  |  |  | 0
Other -
N.B: Contingencies taken with Provisional Sums. |  |  |  | Carried to Summary | 0

## Albion Lift 1
Project: | Albion, Redbridge & Shirley Towers - Lift Replacements
Ref: | RP300399
| Albion Towers - Lift 1 | Specified Works
ITEM | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | Builders' Work
1.1 | Allow for builders work in connection with the lift replacement | 1 | item |  | 0
2 | Strip out
2.1 | Strip out existing lift | 1 | item |  | 0
2.2 | Asbestos removal | 1 | item |  | 0
3 | Lift works
3.1 | Lift shaft | 1 | item |  | 0
3.2 | Machine room | 1 | item |  | 0
3.3 | Control panel | 1 | item |  | 0
3.4 | Microprocessor based control system | 1 | item |  | 0
3.5 | Control cabinets | 1 | item |  | 0
3.6 | VVVF Vector drive motor control | 1 | item |  | 0
3.7 | Recuperation system | 1 | item |  | 0
3.8 | Ropes - Car | 1 | item |  | 0
3.9 | Ropes - Governor | 1 | item |  | 0
3.1 | Load weighing | 1 | item |  | 0
3.11 | Rope lubrication | 1 | item |  | 0
3.12 | Machine | 1 | item |  | 0
3.13 | Machine frame | 1 | item |  | 0
| Page 1 | Carried to collection |  |  | 0
3.14 | Divertors | 1 | item |  | 0
3.15 | Guarding | 1 | item |  | 0
3.16 | Rope compensation | 1 | item |  | 0
3.17 | Emergency manual operation | 1 | item |  | 0
3.18 | EMC related issues | 1 | item |  | 0
3.19 | Overspeed governor | 1 | item |  | 0
3.2 | Protection against unintended car movement | 1 | item |  | 0
3.21 | Emergency manual lowering | 1 | item |  | 0
3.22 | Autodialler | 1 | item |  | 0
3.23 | Guide rails - car and counterweight | 1 | item |  | 0
3.24 | Guide brackets (per level) | 1 | item |  | 0
3.25 | Pit base blank channel | 1 | item |  | 0
3.26 | Shaft signals | 1 | item |  | 0
3.27 | Lift sling | 1 | item |  | 0
3.28 | Safety gear | 1 | item |  | 0
3.29 | Guide rollers assemblies | 1 | item |  | 0
3.3 | Lift cabin design | 1 | item |  | 0
3.31 | Memco Pana40+ 2D door edge | 1 | item |  | 0
| Page 2 | Carried to collection |  |  | 0
3.32 | Lift cabin door operator and doors | 1 | item |  | 0
3.33 | Lift cabin features:
3.34 | Voice synthesiser | 1 | item |  | 0
3.35 | Car operating panel pushbuttons | 1 | item |  | 0
3.36 | Keyswitch | 1 | item |  | 0
3.37 | Lift car indicator | 1 | item |  | 0
3.38 | Car roof | 1 | item |  | 0
3.39 | Car top handrails | 1 | item |  | 0
3.4 | Counterweight | 1 | item |  | 0
3.41 | Guide rollers assemblies | 1 | item |  | 0
3.42 | Lift shaft & pit | 1 | item |  | 0
3.43 | Landing doors | 1 | item |  | 0
3.44 | Landing door architraves | 1 | item |  | 0
3.45 | Landings:
3.46 | Landing call stations | 1 | item |  | 0
3.47 | Landing indicator stations | 1 | item |  | 0
3.48 | Buffers | 1 | item |  | 0
3.49 | Trunking/Conduit | 1 | item |  | 0
3.5 | Cables & Wiring | 1 | item |  | 0
| Page 3 | Carried to collection |  |  | 0
3.51 | Earthing | 1 | item |  | 0
3.52 | Shaft steelwork | 1 | item |  | 0
3.53 | Guarding & Screens | 1 | item |  | 0
3.54 | Fire controls | 1 | item |  | 0
3.55 | Fireman's switches | 1 | item |  | 0
3.56 | Diagnostic equipment | 1 | item |  | 0
3.57 | Remote monitoring | 1 | item |  | 0
3.58 | CCTV network | 1 | item |  | 0
3.59 | Tool board | 1 | item |  | 0
3.6 | Notices/Information & diagrams | 1 | item |  | 0
3.61 | Cleaning pit, shaft, car top & fixings | 1 | item |  | 0
3.62 | Testing | 1 | item |  | 0
3.63 | Completion & handover | 1 | item |  | 0
3.64 | Documentation | 1 | item |  | 0
3.65 | Installation labour | 1 | item |  | 0
| Page 4 | Carried to collection |  |  | 0
4 | Electrical work
4.1 | Removals | 1 | item |  | 0
4.2 | Main Switchgear | 1 | item |  | 0
4.3 | Distribution | 1 | item |  | 0
4.4 | Distribution equipment | 1 | item |  | 0
4.5 | Labels | 1 | item |  | 0
4.6 | Earthing & Bonding | 1 | item |  | 0
4.7 | Lighting | 1 | item |  | 0
4.8 | Emergency lighting | 1 | item |  | 0
4.9 | Power | 1 | item |  | 0
4.1 | Fixed equipment | 1 | item |  | 0
4.11 | Containment | 1 | item |  | 0
4.12 | Fire detection system | 1 | item |  | 0
4.13 | Lift motor room heater | 1 | item |  | 0
4.14 | Lift motor room ventilation fans | 1 | item |  | 0
4.15 | Lift works | 1 | item |  | 0
4.16 | Communications | 1 | item |  | 0
4.17 | Mounting heights | 1 | item |  | 0
| Page 5 | Carried to collection |  |  | 0
Allow here for any other items reasonably foreseeable to complete the works above;
| Page 6 | Carried to collection |  |  | 0
Servicing & Maintenance
(Please insert rates in highlighted cells)
Service price following completion of the Lift Replacement Works (Please refer to the Lift Maintenance and Callout document)
| Cost of Service A | 15 | Nr |  | 0
| Cost of Service B | 15 | Nr |  | 0
Work out of normal working hours
Base rate hourly rates
| Lift service and repair engineer/technician | 1 | Hr
| Lift service and repair assistant (mate) | 1 | Hr
| Tester (NVQ4 qualified) | 1 | Hr
Rates for "out of hours"
(Percentage of hourly rate i.e. 1.25 = 125%)
Please enter percentages as decimals only
| Monday - Friday 1800-0800 (Sat) | 1 | item
| Say, 60 Hrs | 30 | Hrs | 0 | 0
| Saturday 0800-0000 | 1 | item
| Say, 30 Hrs | 15 | Hrs | 0 | 0
| Sundays & Bank Holidays 0000-0800 (Mon) | 1 | item
| Say, 10 Hrs | 5 | Hrs | 0 | 0
| Materials mark up (to cover OH&P) | 1 | item
| Materials | 1 | PS | 2500 | 2500
| Page 7 | Carried to Summary |  |  | 2500
| Collection |  |  |  | £
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
| Page 5 |  |  |  | 0
| Page 6 |  |  |  | 0
| Albion Towers - Lift 1 | Carried to Summary £ |  |  | 0
If Lift 2 is the same price as Lift 1 - please only price the Servicing & Maintenance section within the Lift 2 Tab

## Albion Lift 2
Project: | Albion, Redbridge & Shirley Towers - Lift Replacements
Ref: | RP300399
| Albion Towers - Lift 2 | Specified Works
ITEM | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | Builders' Work
1.1 | Allow for builders work in connection with the lift replacement | 1 | item |  | 0
2 | Strip out
2.1 | Strip out existing lift | 1 | item |  | 0
2.2 | Asbestos removal | 1 | item |  | 0
3 | Lift works
3.1 | Lift shaft | 1 | item |  | 0
3.2 | Machine room | 1 | item |  | 0
3.3 | Control panel | 1 | item |  | 0
3.4 | Microprocessor based control system | 1 | item |  | 0
3.5 | Control cabinets | 1 | item |  | 0
3.6 | VVVF Vector drive motor control | 1 | item |  | 0
3.7 | Recuperation system | 1 | item |  | 0
3.8 | Ropes - Car | 1 | item |  | 0
3.9 | Ropes - Governor | 1 | item |  | 0
3.1 | Load weighing | 1 | item |  | 0
3.11 | Rope lubrication | 1 | item |  | 0
3.12 | Machine | 1 | item |  | 0
3.13 | Machine frame | 1 | item |  | 0
| Page 1 | Carried to collection |  |  | 0
3.14 | Divertors | 1 | item |  | 0
3.15 | Guarding | 1 | item |  | 0
3.16 | Rope compensation | 1 | item |  | 0
3.17 | Emergency manual operation | 1 | item |  | 0
3.18 | EMC related issues | 1 | item |  | 0
3.19 | Overspeed governor | 1 | item |  | 0
3.2 | Protection against unintended car movement | 1 | item |  | 0
3.21 | Emergency manual lowering | 1 | item |  | 0
3.22 | Autodialler | 1 | item |  | 0
3.23 | Guide rails - car and counterweight | 1 | item |  | 0
3.24 | Guide brackets (per level) | 1 | item |  | 0
3.25 | Pit base blank channel | 1 | item |  | 0
3.26 | Shaft signals | 1 | item |  | 0
3.27 | Lift sling | 1 | item |  | 0
3.28 | Safety gear | 1 | item |  | 0
3.29 | Guide rollers assemblies | 1 | item |  | 0
3.3 | Lift cabin design | 1 | item |  | 0
3.31 | Memco Pana40+ 2D door edge | 1 | item |  | 0
| Page 2 | Carried to collection |  |  | 0
3.32 | Lift cabin door operator and doors | 1 | item |  | 0
3.33 | Lift cabin features:
3.34 | Voice synthesiser | 1 | item |  | 0
3.35 | Car operating panel pushbuttons | 1 | item |  | 0
3.36 | Keyswitch | 1 | item |  | 0
3.37 | Lift car indicator | 1 | item |  | 0
3.38 | Car roof | 1 | item |  | 0
3.39 | Car top handrails | 1 | item |  | 0
3.4 | Counterweight | 1 | item |  | 0
3.41 | Guide rollers assemblies | 1 | item |  | 0
3.42 | Lift shaft & pit | 1 | item |  | 0
3.43 | Landing doors | 1 | item |  | 0
3.44 | Landing door architraves | 1 | item |  | 0
3.45 | Landings:
3.46 | Landing call stations | 1 | item |  | 0
3.47 | Landing indicator stations | 1 | item |  | 0
3.48 | Buffers | 1 | item |  | 0
3.49 | Trunking/Conduit | 1 | item |  | 0
3.5 | Cables & Wiring | 1 | item |  | 0
| Page 3 | Carried to collection |  |  | 0
3.51 | Earthing | 1 | item |  | 0
3.52 | Shaft steelwork | 1 | item |  | 0
3.53 | Guarding & Screens | 1 | item |  | 0
3.54 | Fire controls | 1 | item |  | 0
3.55 | Fireman's switches | 1 | item |  | 0
3.56 | Diagnostic equipment | 1 | item |  | 0
3.57 | Remote monitoring | 1 | item |  | 0
3.58 | CCTV network | 1 | item |  | 0
3.59 | Tool board | 1 | item |  | 0
3.6 | Notices/Information & diagrams | 1 | item |  | 0
3.61 | Cleaning pit, shaft, car top & fixings | 1 | item |  | 0
3.62 | Testing | 1 | item |  | 0
3.63 | Completion & handover | 1 | item |  | 0
3.64 | Documentation | 1 | item |  | 0
3.65 | Installation labour | 1 | item |  | 0
| Page 4 | Carried to collection |  |  | 0
4 | Electrical work
4.1 | Removals | 1 | item |  | 0
4.2 | Main Switchgear | 1 | item |  | 0
4.3 | Distribution | 1 | item |  | 0
4.4 | Distribution equipment | 1 | item |  | 0
4.5 | Labels | 1 | item |  | 0
4.6 | Earthing & Bonding | 1 | item |  | 0
4.7 | Lighting | 1 | item |  | 0
4.8 | Emergency lighting | 1 | item |  | 0
4.9 | Power | 1 | item |  | 0
4.1 | Fixed equipment | 1 | item |  | 0
4.11 | Containment | 1 | item |  | 0
4.12 | Fire detection system | 1 | item |  | 0
4.13 | Lift motor room heater | 1 | item |  | 0
4.14 | Lift motor room ventilation fans | 1 | item |  | 0
4.15 | Lift works | 1 | item |  | 0
4.16 | Communications | 1 | item |  | 0
4.17 | Mounting heights | 1 | item |  | 0
| Page 5 | Carried to collection |  |  | 0
Allow here for any other items reasonably foreseeable to complete the works above;
| Page 6 | Carried to collection |  |  | 0
Servicing & Maintenance
(Please insert rates in highlighted cells)
Service price following completion of the Lift Replacement Works (Please refer to the Lift Maintenance and Callout document)
| Cost of Service A | 12 | Nr |  | 0
| Cost of Service B | 12 | Nr |  | 0
Work out of normal working hours
Base rate hourly rates
| Lift service and repair engineer/technician | 1 | Hr
| Lift service and repair assistant (mate) | 1 | Hr
| Tester (NVQ4 qualified) | 1 | Hr
Rates for "out of hours"
(Percentage of hourly rate i.e. 1.25 = 125%)
Please enter percentages as decimals only
| Monday - Friday 1800-0800 (Sat) | 1 | item
| Say, 60 Hrs | 30 | Hrs | 0 | 0
| Saturday 0800-0000 | 1 | item
| Say, 30 Hrs | 15 | Hrs | 0 | 0
| Sundays & Bank Holidays 0000-0800 (Mon) | 1 | item
| Say, 10 Hrs | 5 | Hrs | 0 | 0
| Materials mark up (to cover OH&P) | 1 | item
| Materials | 1 | PS | 2500 | 2500
| Page 7 | Carried to Summary |  |  | 2500
| Collection |  |  |  | £
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
| Page 5 |  |  |  | 0
| Page 6 |  |  |  | 0
| Albion Towers - Lift 2 | Carried to Summary £ |  |  | 0
Price will not be carried forward if left blank

## Redbridge Lift 1
Project: | Albion, Redbridge & Shirley Towers - Lift Replacements
Ref: | RP300399
| Redbridge Towers - Lift 1 | Specified Works
ITEM | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | Builders' Work
1.1 | Allow for builders work in connection with the lift replacement | 1 | item |  | 0
2 | Strip out
2.1 | Strip out existing lift | 1 | item |  | 0
2.2 | Asbestos removal | 1 | item |  | 0
3 | Lift works
3.1 | Lift shaft | 1 | item |  | 0
3.2 | Machine room | 1 | item |  | 0
3.3 | Control panel | 1 | item |  | 0
3.4 | Microprocessor based control system | 1 | item |  | 0
3.5 | Control cabinets | 1 | item |  | 0
3.6 | VVVF Vector drive motor control | 1 | item |  | 0
3.7 | Recuperation system | 1 | item |  | 0
3.8 | Ropes - Car | 1 | item |  | 0
3.9 | Ropes - Governor | 1 | item |  | 0
3.1 | Load weighing | 1 | item |  | 0
3.11 | Rope lubrication | 1 | item |  | 0
3.12 | Machine | 1 | item |  | 0
3.13 | Machine frame | 1 | item |  | 0
| Page 1 | Carried to collection |  |  | 0
3.14 | Divertors | 1 | item |  | 0
3.15 | Guarding | 1 | item |  | 0
3.16 | Rope compensation | 1 | item |  | 0
3.17 | Emergency manual operation | 1 | item |  | 0
3.18 | EMC related issues | 1 | item |  | 0
3.19 | Overspeed governor | 1 | item |  | 0
3.2 | Protection against unintended car movement | 1 | item |  | 0
3.21 | Emergency manual lowering | 1 | item |  | 0
3.22 | Autodialler | 1 | item |  | 0
3.23 | Guide rails - car and counterweight | 1 | item |  | 0
3.24 | Guide brackets (per level) | 1 | item |  | 0
3.25 | Pit base blank channel | 1 | item |  | 0
3.26 | Shaft signals | 1 | item |  | 0
3.27 | Lift sling | 1 | item |  | 0
3.28 | Safety gear | 1 | item |  | 0
3.29 | Guide rollers assemblies | 1 | item |  | 0
3.3 | Lift cabin design | 1 | item |  | 0
3.31 | Memco Pana40+ 2D door edge | 1 | item |  | 0
| Page 2 | Carried to collection |  |  | 0
3.32 | Lift cabin door operator and doors | 1 | item |  | 0
3.33 | Lift cabin features:
3.34 | Voice synthesiser | 1 | item |  | 0
3.35 | Car operating panel pushbuttons | 1 | item |  | 0
3.36 | Keyswitch | 1 | item |  | 0
3.37 | Lift car indicator | 1 | item |  | 0
3.38 | Car roof | 1 | item |  | 0
3.39 | Car top handrails | 1 | item |  | 0
3.4 | Counterweight | 1 | item |  | 0
3.41 | Guide rollers assemblies | 1 | item |  | 0
3.42 | Lift shaft & pit | 1 | item |  | 0
3.43 | Landing doors | 1 | item |  | 0
3.44 | Landing door architraves | 1 | item |  | 0
3.45 | Landings:
3.46 | Landing call stations | 1 | item |  | 0
3.47 | Landing indicator stations | 1 | item |  | 0
3.48 | Buffers | 1 | item |  | 0
3.49 | Trunking/Conduit | 1 | item |  | 0
3.5 | Cables & Wiring | 1 | item |  | 0
| Page 3 | Carried to collection |  |  | 0
3.51 | Earthing | 1 | item |  | 0
3.52 | Shaft steelwork | 1 | item |  | 0
3.53 | Guarding & Screens | 1 | item |  | 0
3.54 | Fire controls | 1 | item |  | 0
3.55 | Fireman's switches | 1 | item |  | 0
3.56 | Diagnostic equipment | 1 | item |  | 0
3.57 | Remote monitoring | 1 | item |  | 0
3.58 | CCTV network | 1 | item |  | 0
3.59 | Tool board | 1 | item |  | 0
3.6 | Notices/Information & diagrams | 1 | item |  | 0
3.61 | Cleaning pit, shaft, car top & fixings | 1 | item |  | 0
3.62 | Testing | 1 | item |  | 0
3.63 | Completion & handover | 1 | item |  | 0
3.64 | Documentation | 1 | item |  | 0
3.65 | Installation labour | 1 | item |  | 0
| Page 4 | Carried to collection |  |  | 0
4 | Electrical work
4.1 | Removals | 1 | item |  | 0
4.2 | Main Switchgear | 1 | item |  | 0
4.3 | Distribution | 1 | item |  | 0
4.4 | Distribution equipment | 1 | item |  | 0
4.5 | Labels | 1 | item |  | 0
4.6 | Earthing & Bonding | 1 | item |  | 0
4.7 | Lighting | 1 | item |  | 0
4.8 | Emergency lighting | 1 | item |  | 0
4.9 | Power | 1 | item |  | 0
4.1 | Fixed equipment | 1 | item |  | 0
4.11 | Containment | 1 | item |  | 0
4.12 | Fire detection system | 1 | item |  | 0
4.13 | Lift motor room heater | 1 | item |  | 0
4.14 | Lift motor room ventilation fans | 1 | item |  | 0
4.15 | Lift works | 1 | item |  | 0
4.16 | Communications | 1 | item |  | 0
4.17 | Mounting heights | 1 | item |  | 0
| Page 5 | Carried to collection |  |  | 0
Allow here for any other items reasonably foreseeable to complete the works above;
| Page 6 | Carried to collection |  |  | 0
Servicing & Maintenance
(Please insert rates in highlighted cells)
Service price following completion of the Lift Replacement Works (Please refer to the Lift Maintenance and Callout document)
| Cost of Service A | 13 | Nr |  | 0
| Cost of Service B | 13 | Nr |  | 0
Work out of normal working hours
Base rate hourly rates
| Lift service and repair engineer/technician | 1 | Hr
| Lift service and repair assistant (mate) | 1 | Hr
| Tester (NVQ4 qualified) | 1 | Hr
Rates for "out of hours"
(Percentage of hourly rate i.e. 1.25 = 125%)
Please enter percentages as decimals only
| Monday - Friday 1800-0800 (Sat) | 1 | item
| Say, 60 Hrs | 30 | Hrs | 0 | 0
| Saturday 0800-0000 | 1 | item
| Say, 30 Hrs | 15 | Hrs | 0 | 0
| Sundays & Bank Holidays 0000-0800 (Mon) | 1 | item
| Say, 10 Hrs | 5 | Hrs | 0 | 0
| Materials mark up (to cover OH&P) | 1 | item
| Materials | 1 | PS | 2500 | 2500
| Page 7 | Carried to Summary |  |  | 2500
| Collection |  |  |  | £
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
| Page 5 |  |  |  | 0
| Page 6 |  |  |  | 0
| Redbridge Towers - Lift 1 | Carried to Summary £ |  |  | 0
If Lift 2 is the same price as Lift 1 - please only price the Servicing & Maintenance section within the Lift 2 Tab

## Redbridge Lift 2
Project: | Albion, Redbridge & Shirley Towers - Lift Replacements
Ref: | RP300399
| Redbridge Towers - Lift 2 | Specified Works
ITEM | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | Builders' Work
1.1 | Allow for builders work in connection with the lift replacement | 1 | item |  | 0
2 | Strip out
2.1 | Strip out existing lift | 1 | item |  | 0
2.2 | Asbestos removal | 1 | item |  | 0
3 | Lift works
3.1 | Lift shaft | 1 | item |  | 0
3.2 | Machine room | 1 | item |  | 0
3.3 | Control panel | 1 | item |  | 0
3.4 | Microprocessor based control system | 1 | item |  | 0
3.5 | Control cabinets | 1 | item |  | 0
3.6 | VVVF Vector drive motor control | 1 | item |  | 0
3.7 | Recuperation system | 1 | item |  | 0
3.8 | Ropes - Car | 1 | item |  | 0
3.9 | Ropes - Governor | 1 | item |  | 0
3.1 | Load weighing | 1 | item |  | 0
3.11 | Rope lubrication | 1 | item |  | 0
3.12 | Machine | 1 | item |  | 0
3.13 | Machine frame | 1 | item |  | 0
| Page 1 | Carried to collection |  |  | 0
3.14 | Divertors | 1 | item |  | 0
3.15 | Guarding | 1 | item |  | 0
3.16 | Rope compensation | 1 | item |  | 0
3.17 | Emergency manual operation | 1 | item |  | 0
3.18 | EMC related issues | 1 | item |  | 0
3.19 | Overspeed governor | 1 | item |  | 0
3.2 | Protection against unintended car movement | 1 | item |  | 0
3.21 | Emergency manual lowering | 1 | item |  | 0
3.22 | Autodialler | 1 | item |  | 0
3.23 | Guide rails - car and counterweight | 1 | item |  | 0
3.24 | Guide brackets (per level) | 1 | item |  | 0
3.25 | Pit base blank channel | 1 | item |  | 0
3.26 | Shaft signals | 1 | item |  | 0
3.27 | Lift sling | 1 | item |  | 0
3.28 | Safety gear | 1 | item |  | 0
3.29 | Guide rollers assemblies | 1 | item |  | 0
3.3 | Lift cabin design | 1 | item |  | 0
3.31 | Memco Pana40+ 2D door edge | 1 | item |  | 0
| Page 2 | Carried to collection |  |  | 0
3.32 | Lift cabin door operator and doors | 1 | item |  | 0
3.33 | Lift cabin features:
3.34 | Voice synthesiser | 1 | item |  | 0
3.35 | Car operating panel pushbuttons | 1 | item |  | 0
3.36 | Keyswitch | 1 | item |  | 0
3.37 | Lift car indicator | 1 | item |  | 0
3.38 | Car roof | 1 | item |  | 0
3.39 | Car top handrails | 1 | item |  | 0
3.4 | Counterweight | 1 | item |  | 0
3.41 | Guide rollers assemblies | 1 | item |  | 0
3.42 | Lift shaft & pit | 1 | item |  | 0
3.43 | Landing doors | 1 | item |  | 0
3.44 | Landing door architraves | 1 | item |  | 0
3.45 | Landings:
3.46 | Landing call stations | 1 | item |  | 0
3.47 | Landing indicator stations | 1 | item |  | 0
3.48 | Buffers | 1 | item |  | 0
3.49 | Trunking/Conduit | 1 | item |  | 0
3.5 | Cables & Wiring | 1 | item |  | 0
| Page 3 | Carried to collection |  |  | 0
3.51 | Earthing | 1 | item |  | 0
3.52 | Shaft steelwork | 1 | item |  | 0
3.53 | Guarding & Screens | 1 | item |  | 0
3.54 | Fire controls | 1 | item |  | 0
3.55 | Fireman's switches | 1 | item |  | 0
3.56 | Diagnostic equipment | 1 | item |  | 0
3.57 | Remote monitoring | 1 | item |  | 0
3.58 | CCTV network | 1 | item |  | 0
3.59 | Tool board | 1 | item |  | 0
3.6 | Notices/Information & diagrams | 1 | item |  | 0
3.61 | Cleaning pit, shaft, car top & fixings | 1 | item |  | 0
3.62 | Testing | 1 | item |  | 0
3.63 | Completion & handover | 1 | item |  | 0
3.64 | Documentation | 1 | item |  | 0
3.65 | Installation labour | 1 | item |  | 0
| Page 4 | Carried to collection |  |  | 0
4 | Electrical work
4.1 | Removals | 1 | item |  | 0
4.2 | Main Switchgear | 1 | item |  | 0
4.3 | Distribution | 1 | item |  | 0
4.4 | Distribution equipment | 1 | item |  | 0
4.5 | Labels | 1 | item |  | 0
4.6 | Earthing & Bonding | 1 | item |  | 0
4.7 | Lighting | 1 | item |  | 0
4.8 | Emergency lighting | 1 | item |  | 0
4.9 | Power | 1 | item |  | 0
4.1 | Fixed equipment | 1 | item |  | 0
4.11 | Containment | 1 | item |  | 0
4.12 | Fire detection system | 1 | item |  | 0
4.13 | Lift motor room heater | 1 | item |  | 0
4.14 | Lift motor room ventilation fans | 1 | item |  | 0
4.15 | Lift works | 1 | item |  | 0
4.16 | Communications | 1 | item |  | 0
4.17 | Mounting heights | 1 | item |  | 0
| Page 5 | Carried to collection |  |  | 0
Allow here for any other items reasonably foreseeable to complete the works above;
| Page 6 | Carried to collection |  |  | 0
Servicing & Maintenance
(Please insert rates in highlighted cells)
Service price following completion of the Lift Replacement Works (Please refer to the Lift Maintenance and Callout document)
| Cost of Service A | 10 | Nr |  | 0
| Cost of Service B | 10 | Nr |  | 0
Work out of normal working hours
Base rate hourly rates
| Lift service and repair engineer/technician | 1 | Hr
| Lift service and repair assistant (mate) | 1 | Hr
| Tester (NVQ4 qualified) | 1 | Hr
Rates for "out of hours"
(Percentage of hourly rate i.e. 1.25 = 125%)
Please enter percentages as decimals only
| Monday - Friday 1800-0800 (Sat) | 1 | item
| Say, 60 Hrs | 30 | Hrs | 0 | 0
| Saturday 0800-0000 | 1 | item
| Say, 30 Hrs | 15 | Hrs | 0 | 0
| Sundays & Bank Holidays 0000-0800 (Mon) | 1 | item
| Say, 10 Hrs | 5 | Hrs | 0 | 0
| Materials mark up (to cover OH&P) | 1 | item
| Materials | 1 | PS | 2500 | 2500
| Page 7 | Carried to Summary |  |  | 2500
| Collection |  |  |  | £
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
| Page 5 |  |  |  | 0
| Page 6 |  |  |  | 0
| Redbridge Towers - Lift 2 | Carried to Summary £ |  |  | 0
Price will not be carried forward if left blank

## Shirley Lift 1
Project: | Albion, Redbridge & Shirley Towers - Lift Replacements
Ref: | RP300399
| Shirley Towers - Lift 1 | Specified Works
ITEM | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | Builders' Work
1.1 | Allow for builders work in connection with the lift replacement | 1 | item |  | 0
2 | Strip out
2.1 | Strip out existing lift | 1 | item |  | 0
2.2 | Asbestos removal | 1 | item |  | 0
3 | Lift works
3.1 | Lift shaft | 1 | item |  | 0
3.2 | Machine room | 1 | item |  | 0
3.3 | Control panel | 1 | item |  | 0
3.4 | Microprocessor based control system | 1 | item |  | 0
3.5 | Control cabinets | 1 | item |  | 0
3.6 | VVVF Vector drive motor control | 1 | item |  | 0
3.7 | Recuperation system | 1 | item |  | 0
3.8 | Ropes - Car | 1 | item |  | 0
3.9 | Ropes - Governor | 1 | item |  | 0
3.1 | Load weighing | 1 | item |  | 0
3.11 | Rope lubrication | 1 | item |  | 0
3.12 | Machine | 1 | item |  | 0
3.13 | Machine frame | 1 | item |  | 0
| Page 1 | Carried to collection |  |  | 0
3.14 | Divertors | 1 | item |  | 0
3.15 | Guarding | 1 | item |  | 0
3.16 | Rope compensation | 1 | item |  | 0
3.17 | Emergency manual operation | 1 | item |  | 0
3.18 | EMC related issues | 1 | item |  | 0
3.19 | Overspeed governor | 1 | item |  | 0
3.2 | Protection against unintended car movement | 1 | item |  | 0
3.21 | Emergency manual lowering | 1 | item |  | 0
3.22 | Autodialler | 1 | item |  | 0
3.23 | Guide rails - car and counterweight | 1 | item |  | 0
3.24 | Guide brackets (per level) | 1 | item |  | 0
3.25 | Pit base blank channel | 1 | item |  | 0
3.26 | Shaft signals | 1 | item |  | 0
3.27 | Lift sling | 1 | item |  | 0
3.28 | Safety gear | 1 | item |  | 0
3.29 | Guide rollers assemblies | 1 | item |  | 0
3.3 | Lift cabin design | 1 | item |  | 0
3.31 | Memco Pana40+ 2D door edge | 1 | item |  | 0
| Page 2 | Carried to collection |  |  | 0
3.32 | Lift cabin door operator and doors | 1 | item |  | 0
3.33 | Lift cabin features:
3.34 | Voice synthesiser | 1 | item |  | 0
3.35 | Car operating panel pushbuttons | 1 | item |  | 0
3.36 | Keyswitch | 1 | item |  | 0
3.37 | Lift car indicator | 1 | item |  | 0
3.38 | Car roof | 1 | item |  | 0
3.39 | Car top handrails | 1 | item |  | 0
3.4 | Counterweight | 1 | item |  | 0
3.41 | Guide rollers assemblies | 1 | item |  | 0
3.42 | Lift shaft & pit | 1 | item |  | 0
3.43 | Landing doors | 1 | item |  | 0
3.44 | Landing door architraves | 1 | item |  | 0
3.45 | Landings:
3.46 | Landing call stations | 1 | item |  | 0
3.47 | Landing indicator stations | 1 | item |  | 0
3.48 | Buffers | 1 | item |  | 0
3.49 | Trunking/Conduit | 1 | item |  | 0
3.5 | Cables & Wiring | 1 | item |  | 0
| Page 3 | Carried to collection |  |  | 0
3.51 | Earthing | 1 | item |  | 0
3.52 | Shaft steelwork | 1 | item |  | 0
3.53 | Guarding & Screens | 1 | item |  | 0
3.54 | Fire controls | 1 | item |  | 0
3.55 | Fireman's switches | 1 | item |  | 0
3.56 | Diagnostic equipment | 1 | item |  | 0
3.57 | Remote monitoring | 1 | item |  | 0
3.58 | CCTV network | 1 | item |  | 0
3.59 | Tool board | 1 | item |  | 0
3.6 | Notices/Information & diagrams | 1 | item |  | 0
3.61 | Cleaning pit, shaft, car top & fixings | 1 | item |  | 0
3.62 | Testing | 1 | item |  | 0
3.63 | Completion & handover | 1 | item |  | 0
3.64 | Documentation | 1 | item |  | 0
3.65 | Installation labour | 1 | item |  | 0
| Page 4 | Carried to collection |  |  | 0
4 | Electrical work
4.1 | Removals | 1 | item |  | 0
4.2 | Main Switchgear | 1 | item |  | 0
4.3 | Distribution | 1 | item |  | 0
4.4 | Distribution equipment | 1 | item |  | 0
4.5 | Labels | 1 | item |  | 0
4.6 | Earthing & Bonding | 1 | item |  | 0
4.7 | Lighting | 1 | item |  | 0
4.8 | Emergency lighting | 1 | item |  | 0
4.9 | Power | 1 | item |  | 0
4.1 | Fixed equipment | 1 | item |  | 0
4.11 | Containment | 1 | item |  | 0
4.12 | Fire detection system | 1 | item |  | 0
4.13 | Lift motor room heater | 1 | item |  | 0
4.14 | Lift motor room ventilation fans | 1 | item |  | 0
4.15 | Lift works | 1 | item |  | 0
4.16 | Communications | 1 | item |  | 0
4.17 | Mounting heights | 1 | item |  | 0
| Page 5 | Carried to collection |  |  | 0
Allow here for any other items reasonably foreseeable to complete the works above;
| Page 6 | Carried to collection |  |  | 0
Servicing & Maintenance
(Please insert rates in highlighted cells)
Service price following completion of the Lift Replacement Works (Please refer to the Lift Maintenance and Callout document)
| Cost of Service A | 9 | Nr |  | 0
| Cost of Service B | 9 | Nr |  | 0
Work out of normal working hours
Base rate hourly rates
| Lift service and repair engineer/technician | 1 | Hr
| Lift service and repair assistant (mate) | 1 | Hr
| Tester (NVQ4 qualified) | 1 | Hr
Rates for "out of hours"
(Percentage of hourly rate i.e. 1.25 = 125%)
Please enter percentages as decimals only
| Monday - Friday 1800-0800 (Sat) | 1 | item
| Say, 60 Hrs | 30 | Hrs | 0 | 0
| Saturday 0800-0000 | 1 | item
| Say, 30 Hrs | 15 | Hrs | 0 | 0
| Sundays & Bank Holidays 0000-0800 (Mon) | 1 | item
| Say, 10 Hrs | 5 | Hrs | 0 | 0
| Materials mark up (to cover OH&P) | 1 | item
| Materials | 1 | PS | 2500 | 2500
| Page 7 | Carried to Summary |  |  | 2500
| Collection |  |  |  | £
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
| Page 5 |  |  |  | 0
| Page 6 |  |  |  | 0
| Shirley Towers - Lift 1 | Carried to Summary £ |  |  | 0
If Lift 2 is the same price as Lift 1 - please only price the Servicing & Maintenance section within the Lift 2 Tab

## Shirley Lift 2
Project: | Albion, Redbridge & Shirley Towers - Lift Replacements
Ref: | RP300399
| Shirley Towers - Lift 2 | Specified Works
ITEM | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | Builders' Work
1.1 | Allow for builders work in connection with the lift replacement | 1 | item |  | 0
2 | Strip out
2.1 | Strip out existing lift | 1 | item |  | 0
2.2 | Asbestos removal | 1 | item |  | 0
3 | Lift works
3.1 | Lift shaft | 1 | item |  | 0
3.2 | Machine room | 1 | item |  | 0
3.3 | Control panel | 1 | item |  | 0
3.4 | Microprocessor based control system | 1 | item |  | 0
3.5 | Control cabinets | 1 | item |  | 0
3.6 | VVVF Vector drive motor control | 1 | item |  | 0
3.7 | Recuperation system | 1 | item |  | 0
3.8 | Ropes - Car | 1 | item |  | 0
3.9 | Ropes - Governor | 1 | item |  | 0
3.1 | Load weighing | 1 | item |  | 0
3.11 | Rope lubrication | 1 | item |  | 0
3.12 | Machine | 1 | item |  | 0
3.13 | Machine frame | 1 | item |  | 0
| Page 1 | Carried to collection |  |  | 0
3.14 | Divertors | 1 | item |  | 0
3.15 | Guarding | 1 | item |  | 0
3.16 | Rope compensation | 1 | item |  | 0
3.17 | Emergency manual operation | 1 | item |  | 0
3.18 | EMC related issues | 1 | item |  | 0
3.19 | Overspeed governor | 1 | item |  | 0
3.2 | Protection against unintended car movement | 1 | item |  | 0
3.21 | Emergency manual lowering | 1 | item |  | 0
3.22 | Autodialler | 1 | item |  | 0
3.23 | Guide rails - car and counterweight | 1 | item |  | 0
3.24 | Guide brackets (per level) | 1 | item |  | 0
3.25 | Pit base blank channel | 1 | item |  | 0
3.26 | Shaft signals | 1 | item |  | 0
3.27 | Lift sling | 1 | item |  | 0
3.28 | Safety gear | 1 | item |  | 0
3.29 | Guide rollers assemblies | 1 | item |  | 0
3.3 | Lift cabin design | 1 | item |  | 0
3.31 | Memco Pana40+ 2D door edge | 1 | item |  | 0
| Page 2 | Carried to collection |  |  | 0
3.32 | Lift cabin door operator and doors | 1 | item |  | 0
3.33 | Lift cabin features:
3.34 | Voice synthesiser | 1 | item |  | 0
3.35 | Car operating panel pushbuttons | 1 | item |  | 0
3.36 | Keyswitch | 1 | item |  | 0
3.37 | Lift car indicator | 1 | item |  | 0
3.38 | Car roof | 1 | item |  | 0
3.39 | Car top handrails | 1 | item |  | 0
3.4 | Counterweight | 1 | item |  | 0
3.41 | Guide rollers assemblies | 1 | item |  | 0
3.42 | Lift shaft & pit | 1 | item |  | 0
3.43 | Landing doors | 1 | item |  | 0
3.44 | Landing door architraves | 1 | item |  | 0
3.45 | Landings:
3.46 | Landing call stations | 1 | item |  | 0
3.47 | Landing indicator stations | 1 | item |  | 0
3.48 | Buffers | 1 | item |  | 0
3.49 | Trunking/Conduit | 1 | item |  | 0
3.5 | Cables & Wiring | 1 | item |  | 0
| Page 3 | Carried to collection |  |  | 0
3.51 | Earthing | 1 | item |  | 0
3.52 | Shaft steelwork | 1 | item |  | 0
3.53 | Guarding & Screens | 1 | item |  | 0
3.54 | Fire controls | 1 | item |  | 0
3.55 | Fireman's switches | 1 | item |  | 0
3.56 | Diagnostic equipment | 1 | item |  | 0
3.57 | Remote monitoring | 1 | item |  | 0
3.58 | CCTV network | 1 | item |  | 0
3.59 | Tool board | 1 | item |  | 0
3.6 | Notices/Information & diagrams | 1 | item |  | 0
3.61 | Cleaning pit, shaft, car top & fixings | 1 | item |  | 0
3.62 | Testing | 1 | item |  | 0
3.63 | Completion & handover | 1 | item |  | 0
3.64 | Documentation | 1 | item |  | 0
3.65 | Installation labour | 1 | item |  | 0
| Page 4 | Carried to collection |  |  | 0
4 | Electrical work
4.1 | Removals | 1 | item |  | 0
4.2 | Main Switchgear | 1 | item |  | 0
4.3 | Distribution | 1 | item |  | 0
4.4 | Distribution equipment | 1 | item |  | 0
4.5 | Labels | 1 | item |  | 0
4.6 | Earthing & Bonding | 1 | item |  | 0
4.7 | Lighting | 1 | item |  | 0
4.8 | Emergency lighting | 1 | item |  | 0
4.9 | Power | 1 | item |  | 0
4.1 | Fixed equipment | 1 | item |  | 0
4.11 | Containment | 1 | item |  | 0
4.12 | Fire detection system | 1 | item |  | 0
4.13 | Lift motor room heater | 1 | item |  | 0
4.14 | Lift motor room ventilation fans | 1 | item |  | 0
4.15 | Lift works | 1 | item |  | 0
4.16 | Communications | 1 | item |  | 0
4.17 | Mounting heights | 1 | item |  | 0
| Page 5 | Carried to collection |  |  | 0
Allow here for any other items reasonably foreseeable to complete the works above;
| Page 6 | Carried to collection |  |  | 0
Servicing & Maintenance
(Please insert rates in highlighted cells)
Service price following completion of the Lift Replacement Works (Please refer to the Lift Maintenance and Callout document)
| Cost of Service A | 6 | Nr |  | 0
| Cost of Service B | 6 | Nr |  | 0
Work out of normal working hours
Base rate hourly rates
| Lift service and repair engineer/technician | 1 | Hr
| Lift service and repair assistant (mate) | 1 | Hr
| Tester (NVQ4 qualified) | 1 | Hr
Rates for "out of hours"
(Percentage of hourly rate i.e. 1.25 = 125%)
Please enter percentages as decimals only
| Monday - Friday 1800-0800 (Sat) | 1 | item
| Say, 60 Hrs | 30 | Hrs | 0 | 0
| Saturday 0800-0000 | 1 | item
| Say, 30 Hrs | 15 | Hrs | 0 | 0
| Sundays & Bank Holidays 0000-0800 (Mon) | 1 | item
| Say, 10 Hrs | 5 | Hrs | 0 | 0
| Materials mark up (to cover OH&P) | 1 | item
| Materials | 1 | PS | 2500 | 2500
| Page 7 | Carried to Summary |  |  | 2500
| Collection |  |  |  | £
| Page 1 |  |  |  | 0
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
| Page 4 |  |  |  | 0
| Page 5 |  |  |  | 0
| Page 6 |  |  |  | 0
| Shirley Towers - Lift 2 | Carried to Summary £ |  |  | 0
Price will not be carried forward if left blank

## Provisional Sums
Project: |  | Albion, Redbridge & Shirley Towers - Lift Replacements
Ref: |  | RP300399
Provisional Sums
ITEM | DESCRIPTION |  | TOTAL
Allow the following undefined Provisional Sums, to be omitted or expended (in part or in full) at the discretion of the Contract Administrator as follows:
1 | Contingency |  | 135000
2 | Provisional Sum for unforseen asbestos related works |  | 15000
| Carried to Summary £ |  | 150000