## Section 6A.1 ADDRESS BASED
|  |  | Existing Rate | Uplift
SECTION 6A.1
1.4%
4.7%
| Schedule of Rates for Installation of Door Entry Equipment |  |  | 5.3%
|  | (including Contractors Price Breakdowns) | Say | 3.2%
15.37%
The List of Properties below are those anticipated to have New Door Entry Systems
Installed within this Measured Term Contract
i. Each storey to be assumed to be 2400mm
ii. Works to be carried out in accordance with Relevant Standard Specification Section 3
and NBS Including Electrical Works.
iii. Where there are 14 Flats or less to served by the same communal service the Standard
Functional System Specification Section 3 will apply unless otherwise instructed by the
authorising officer
iv. Where there are 15 Flats or more served by the same communal service the Standard
Digital System Specification Section 3, will apply unless otherwise instructed by the
authorising officer
v. | Standard specification allows for 1no Front Entrance Door per Block (unless otherwise stated in Block deecription)
PROPS EAST
New Door Entry Systems to the Following Properties
Item No. | Address | Post code | 90,90a Millbrook Road East, Millbrook | Existing Rate |  |  | Cost per Block | £. P
1 | 3 Flats (Upper Floor of Block only)
| Typical Blocks 4- 6 & 10-12 Doyle Court | SO19 9JB |  |  | 2 | No. | 1613.89 | 3227.78
2 | 4 Flats per Block
| Typical Block 9 -15 Cedar Road | SO14 6HN |  |  | 10 | No. | 1920.17 | 19201.7
3 | 5 Flats (Upper Floor of Block Only)
| Typical Block 24 -28 Candover Court | SO19 9BB |  |  | 2 | No. | 1961.95 | 3923.9
4 | 6 Flats per Block
| Typical Blocks 15 -20, 21-26, 27-32 Windrush Road | SO16 9DD |  |  | 70 | No. | 2073.74 | 145161.8
5 | 7 Flats (Upper Floor of Block Only) |  | 2-2a Wavell Road Townhill Park
| Typical Block 36-42 Candover Court | SO19 9BB |  |  | 4 | No. | 2121.52 | 8486.08
6 | 8 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Block 13 -27 Sutherland Road | SO16 8GB |  |  | 14 | No. | 2267.87 | 31750.18
| Page 2 |  |  |  |  | Carried to Summary £ |  | 211751.44
New Door Entry Systems to the Following Properties
Item No. | Address | Post code |  |  |  |  | Cost per Block | £. P
7 | 10 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Block 23 -32 Hollyoak Court | SO16 5GT |  |  | 4 | No. | 2420.41 | 9681.64
8 | 11 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Block 1-21 Barnes Close | SO18 5FE |  |  | 2 | No. | 2761.59 | 5523.18
9 | 12 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Blocks 1-23 & 2- 24 Chawton Close | SO18 5GA |  |  | 4 | No. | 2887.87 | 11551.48
10 | 14 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Block 1- 14 Hollyoak Court | SO16 5GT |  |  | 6 | No. | 2663.82 | 15982.92
11 | 16 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Blocks 1- 31 & 2 - 32 Winchfield Close | SO19 9JF |  |  | 21 | No. | 4535.74 | 95250.54
12 | 18 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Block 1- 18 Cranford House | SO17 1UE |  |  | 3 | No. | 6221.22 | 18663.66
13 | 33 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Block 1- 33 Bellamy Court | SO17 2WN |  |  | 1 | No. | 3470.8 | 3470.8
14 | 37 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Block 76- 148 Golden Grove | SO14 1PU |  |  | 1 | No. | 5308.35 | 5308.35
| Page 3 |  |  |  |  | Carried to Summary £ |  | 165432.57
Item No. | Address | Post code |  |  |  |  | Cost per Block | £. P
15 | 49 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Block 10- 59 South Front | SO14 1JZ |  |  | 1 | No. | 12100 | 12100
16 | 60 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Block 1-60 Ventnor Court | SO14 1PU |  |  | 1 | No. | 5560.89 | 5560.89
17 | 62 Flats per Block |  | 2-2a Wavell Road Townhill Park
| Typical Block 61-122 Ventnor Court | SO14 1PU |  |  | 1 | No. | 5637.02 | 5637.02
| Page 4 |  |  |  |  | Carried to Summary £ |  | 23297.91
Variations to Standard Functional System Specification Section 3
Potential Savings or Extra Over above for
18 | The supply to and installation of Additional Door Entry Panels |  |  |  | 40 | No. | 396.53 | 15861.2
19 | The door panels to be surface mounted |  |  |  | 20 | No. | 13.93 | 278.6
20 | Additional Handsets |  |  |  | 50 | No. | 35 | 1750
21 | Additional Fobs |  |  |  | 30 | No. | 4.5 | 135
Variations to Standard Functional System Specification Section 3
22 | The supply to and installation of Additional Door Entry Panels |  |  |  | 10 | No. | 396.53 | 3965.3
23 | The door panels to be surface mounted |  |  |  | 10 | No. | 13.93 | 139.3
24 | Additional Handsets |  |  |  | 20 | No. | 35 | 700
25 | Additional Fobs |  |  |  | 10 | No. | 4.5 | 45
| Page 5 |  |  |  |  | Carried to Summary £ |  | 22874.4
SECTION 6A.1 - SUMMARY
| Page 2 | [6 empty] | 211751.44
| Page 3 | [6 empty] | 165432.57
| Page 4 | [6 empty] | 23297.91
| Page 5 | [6 empty] | 22874.4
| Page 6 | [5 empty] | Section 6A.1 - Carried to Pricing Summary | 423356.32
Section 9A D1.1

## Contractors Price Breakdowns
Appendix
CONTRACTOR PRICING SECTIONS
|  | APPENDIX - DOOR ENTRY SYSTEM INSTALLATIONS | Price
The Total Cost of each block type shall be inserted as the Total Cost * per block for the appropriate block type within Section 6A.1 - Schedule of Rates for Installation of Door Entry System Equipment
The Contractor shall provide a breakdown of the costs given in the Section 6A.1. These rates will be used when only a partial installation is required
Full Door Entry Sysytem Installation all as described in Section 3 Electrical Specification
Item | 1 | 3 Flats (Upper Floor of Block only)
| 1.01 | Entry Panel speakers | 5.95
| 1.02 | Entry Panel microphones | 1.9
| 1.03 | Entry panel Buttons | 2.9
| 1.04 | Entry Panel polycarbonate windows | 5.95
| 1.05 | Audio handsets | 22.4
| 1.06 | Video handsets | 99
| 1.07 | 12 vdc power supply units | 35.17
| 1.08 | Door Locks | 38
| 1.09 | Key Cylinders | 18
| 1.1 | Electric strikes | 25
| 1.11 | Door closers | 57
| 1.12 | Keys | 1.85
| 1.13 | Fobs | 4.5
| 1.14 | Proximity Readers (stand alone) | 239.2
| 1.15 | Proximity readers (panel mount) | 224
| 1.16 | Proximity controllers | 0
| 1.17 | Exit Buttons | 92.8
| 1.18 | Cable replacement | 342
Total - 3 Flats (Upper Floor of Block only)
Item | 2 | 4 Flats per Block
| 2.01 | Entry Panel speakers | 5.95
| 2.02 | Entry Panel microphones | 1.9
| 2.03 | Entry panel Buttons | 2.9
| 2.04 | Entry Panel polycarbonate windows | 5.95
| 2.05 | Audio handsets | 22.4
| 2.06 | Video handsets | 99
| 2.07 | 12 vdc power supply units | 35.17
| 2.08 | Door Locks | 38
| 2.09 | Key Cylinders | 18
| 2.1 | Electric strikes | 25
| 2.11 | Door closers | 57
| 2.12 | Keys | 1.85
| 2.13 | Fobs | 4.5
| 2.14 | Proximity Readers (stand alone) | 239.2
| 2.15 | Proximity readers (panel mount) | 224
| 2.16 | Proximity controllers | 0
| 2.17 | Exit Buttons | 92.8
| 2.18 | Cable replacement | 456
Total - 4 Flats per Block
Item | 3 | 5 Flats (Upper Floor of Block only)
| 3.01 | Entry Panel speakers | 5.95
| 3.02 | Entry Panel microphones | 1.9
| 3.03 | Entry panel Buttons | 2.9
| 3.04 | Entry Panel polycarbonate windows | 5.95
| 3.05 | Audio handsets | 22.4
| 3.06 | Video handsets | 99
| 3.07 | 12 vdc power supply units | 35.17
| 3.08 | Door Locks | 38
| 3.09 | Key Cylinders | 18
| 3.1 | Electric strikes | 25
| 3.11 | Door closers | 57
| 3.12 | Keys | 1.85
| 3.13 | Fobs | 4.5
| 3.14 | Proximity Readers (stand alone) | 239.2
| 3.15 | Proximity readers (panel mount) | 224
| 3.16 | Proximity controllers | 0
| 3.17 | Exit Buttons | 92.8
| 3.18 | Cable replacement | 456
Total - 5 Flats (Upper Floor of Block only)
Item | 4 | 6 Flats per Block
| 4.01 | Entry Panel speakers | 5.95
| 4.02 | Entry Panel microphones | 1.9
| 4.03 | Entry panel Buttons | 2.9
| 4.04 | Entry Panel polycarbonate windows | 5.95
| 4.05 | Audio handsets | 22.4
| 4.06 | Video handsets | 99
| 4.07 | 12 vdc power supply units | 35.17
| 4.08 | Door Locks | 38
| 4.09 | Key Cylinders | 18
| 4.1 | Electric strikes | 25
| 4.11 | Door closers | 57
| 4.12 | Keys | 1.85
| 4.13 | Fobs | 4.5
| 4.14 | Proximity Readers (stand alone) | 239.2
| 4.15 | Proximity readers (panel mount) | 224
| 4.16 | Proximity controllers | 0
| 4.17 | Exit Buttons | 92.8
| 4.18 | Cable replacement | 456
Total - 6 Flats per Block
Item | 5 | 7 Flats (Upper Floor of Block only)
| 5.01 | Entry Panel speakers | 5.95
| 5.02 | Entry Panel microphones | 1.9
| 5.03 | Entry panel Buttons | 2.9
| 5.04 | Entry Panel polycarbonate windows | 5.95
| 5.05 | Audio handsets | 22.4
| 5.06 | Video handsets | 99
| 5.07 | 12 vdc power supply units | 35.17
| 5.08 | Door Locks | 38
| 5.09 | Key Cylinders | 18
| 5.1 | Electric strikes | 25
| 5.11 | Door closers | 57
| 5.12 | Keys | 1.85
| 5.13 | Fobs | 4.5
| 5.14 | Proximity Readers (stand alone) | 239.2
| 5.15 | Proximity readers (panel mount) | 224
| 5.16 | Proximity controllers | 0
| 5.17 | Exit Buttons | 92.8
| 5.18 | Cable replacement | 456
Total - 7 Flats (Upper Floor of Block only)
Item | 6 | 8 Flats per Block
| 6.01 | Entry Panel speakers | 5.95
| 6.02 | Entry Panel microphones | 1.9
| 6.03 | Entry panel Buttons | 2.9
| 6.04 | Entry Panel polycarbonate windows | 5.95
| 6.05 | Audio handsets | 22.4
| 6.06 | Video handsets | 99
| 6.07 | 12 vdc power supply units | 35.17
| 6.08 | Door Locks | 38
| 6.09 | Key Cylinders | 18
| 6.1 | Electric strikes | 25
| 6.11 | Door closers | 57
| 6.12 | Keys | 1.85
| 6.13 | Fobs | 4.5
| 6.14 | Proximity Readers (stand alone) | 239.2
| 6.15 | Proximity readers (panel mount) | 224
| 6.16 | Proximity controllers | 0
| 6.17 | Exit Buttons | 92.8
| 6.18 | Cable replacement | 456
Total - 8 Flats per Block
Item | 7 | 10 Flats per Block
| 7.01 | Entry Panel speakers | 5.95
| 7.02 | Entry Panel microphones | 1.9
| 7.03 | Entry panel Buttons | 2.9
| 7.04 | Entry Panel polycarbonate windows | 5.95
| 7.05 | Audio handsets | 22.4
| 7.06 | Video handsets | 99
| 7.07 | 12 vdc power supply units | 35.17
| 7.08 | Door Locks | 38
| 7.09 | Key Cylinders | 18
| 7.1 | Electric strikes | 25
| 7.11 | Door closers | 57
| 7.12 | Keys | 1.85
| 7.13 | Fobs | 4.5
| 7.14 | Proximity Readers (stand alone) | 239.2
| 7.15 | Proximity readers (panel mount) | 224
| 7.16 | Proximity controllers | 0
| 7.17 | Exit Buttons | 92.8
| 7.18 | Cable replacement | 570
Total - 10 Flats per Block
Item | 8 | 11 Flats per Block
| 8.01 | Entry Panel speakers | 5.95
| 8.02 | Entry Panel microphones | 1.9
| 8.03 | Entry panel Buttons | 2.9
| 8.04 | Entry Panel polycarbonate windows | 5.95
| 8.05 | Audio handsets | 22.4
| 8.06 | Video handsets | 99
| 8.07 | 12 vdc power supply units | 35.17
| 8.08 | Door Locks | 38
| 8.09 | Key Cylinders | 18
| 8.1 | Electric strikes | 25
| 8.11 | Door closers | 57
| 8.12 | Keys | 1.85
| 8.13 | Fobs | 4.5
| 8.14 | Proximity Readers (stand alone) | 239.2
| 8.15 | Proximity readers (panel mount) | 224
| 8.16 | Proximity controllers | 0
| 8.17 | Exit Buttons | 92.8
| 8.18 | Cable replacement | 570
Total - 11 Flats per Block
Item | 9 | 12 Flats per Block
| 9.01 | Entry Panel speakers | 5.95
| 9.02 | Entry Panel microphones | 1.9
| 9.03 | Entry panel Buttons | 2.9
| 9.04 | Entry Panel polycarbonate windows | 5.95
| 9.05 | Audio handsets | 22.4
| 9.06 | Video handsets | 99
| 9.07 | 12 vdc power supply units | 35.17
| 9.08 | Door Locks | 38
| 9.09 | Key Cylinders | 18
| 9.1 | Electric strikes | 25
| 9.11 | Door closers | 57
| 9.12 | Keys | 1.85
| 9.13 | Fobs | 4.5
| 9.14 | Proximity Readers (stand alone) | 239.2
| 9.15 | Proximity readers (panel mount) | 224
| 9.16 | Proximity controllers | 0
| 9.17 | Exit Buttons | 92.8
| 9.18 | Cable replacement | 570
Total - 12 Flats per Block
Item | 10 | 14 Flats per Block
| 10.01 | Entry Panel speakers | 5.95
| 10.02 | Entry Panel microphones | 1.9
| 10.03 | Entry panel Buttons | 2.9
| 10.04 | Entry Panel polycarbonate windows | 5.95
| 10.05 | Audio handsets | 22.4
| 10.06 | Video handsets | 99
| 10.07 | 12 vdc power supply units | 35.17
| 10.08 | Door Locks | 38
| 10.09 | Key Cylinders | 18
| 10.1 | Electric strikes | 25
| 10.11 | Door closers | 57
| 10.12 | Keys | 1.85
| 10.13 | Fobs | 4.5
| 10.14 | Proximity Readers (stand alone) | 239.2
| 10.15 | Proximity readers (panel mount) | 224
| 10.16 | Proximity controllers | 0
| 10.17 | Exit Buttons | 92.8
| 10.18 | Cable replacement | 858
Total - 14 Flats per Block
Item | 11 | 16 Flats per Block
| 10.01 | Entry Panel speakers | 5.95
| 10.02 | Entry Panel microphones | 1.9
| 10.03 | Entry panel Buttons | 2.9
| 10.04 | Entry Panel polycarbonate windows | 5.95
| 10.05 | Audio handsets | 22.4
| 10.06 | Video handsets | 99
| 10.07 | 12 vdc power supply units | 35.17
| 10.08 | Door Locks | 38
| 10.09 | Key Cylinders | 18
| 10.1 | Electric strikes | 25
| 10.11 | Door closers | 57
| 10.12 | Keys | 1.85
| 10.13 | Fobs | 4.5
| 10.14 | Proximity Readers (stand alone) | 239.2
| 10.15 | Proximity readers (panel mount) | 224
| 10.16 | Proximity controllers | 0
| 10.17 | Exit Buttons | 92.8
| 10.18 | Cable replacement | 972
Total - 16 Flats per Block
Item | 12 | 18 Flats per Block
| 10.01 | Entry Panel speakers | 5.95
| 10.02 | Entry Panel microphones | 1.9
| 10.03 | Entry panel Buttons | 2.9
| 10.04 | Entry Panel polycarbonate windows | 5.95
| 10.05 | Audio handsets | 22.4
| 10.06 | Video handsets | 99
| 10.07 | 12 vdc power supply units | 35.17
| 10.08 | Door Locks | 38
| 10.09 | Key Cylinders | 18
| 10.1 | Electric strikes | 25
| 10.11 | Door closers | 57
| 10.12 | Keys | 1.85
| 10.13 | Fobs | 4.5
| 10.14 | Proximity Readers (stand alone) | 239.2
| 10.15 | Proximity readers (panel mount) | 224
| 10.16 | Proximity controllers | 0
| 10.17 | Exit Buttons | 92.8
| 10.18 | Cable replacement | 972
Total - 18 Flats per Block
Item | 13 | 33 Flats per Block
| 10.01 | Entry Panel speakers | 5.95
| 10.02 | Entry Panel microphones | 1.9
| 10.03 | Entry panel Buttons | 2.9
| 10.04 | Entry Panel polycarbonate windows | 5.95
| 10.05 | Audio handsets | 22.4
| 10.06 | Video handsets | 99
| 10.07 | 12 vdc power supply units | 35.17
| 10.08 | Door Locks | 38
| 10.09 | Key Cylinders | 18
| 10.1 | Electric strikes | 25
| 10.11 | Door closers | 57
| 10.12 | Keys | 1.85
| 10.13 | Fobs | 4.5
| 10.14 | Proximity Readers (stand alone) | 239.2
| 10.15 | Proximity readers (panel mount) | 224
| 10.16 | Proximity controllers | 0
| 10.17 | Exit Buttons | 92.8
| 10.18 | Cable replacement | 972
Total - 33 Flats per Block
Item | 14 | 37 Flats per Block
| 10.01 | Entry Panel speakers | 5.95
| 10.02 | Entry Panel microphones | 1.9
| 10.03 | Entry panel Buttons | 2.9
| 10.04 | Entry Panel polycarbonate windows | 5.95
| 10.05 | Audio handsets | 22.4
| 10.06 | Video handsets | 99
| 10.07 | 12 vdc power supply units | 35.17
| 10.08 | Door Locks | 38
| 10.09 | Key Cylinders | 18
| 10.1 | Electric strikes | 25
| 10.11 | Door closers | 57
| 10.12 | Keys | 1.85
| 10.13 | Fobs | 4.5
| 10.14 | Proximity Readers (stand alone) | 239.2
| 10.15 | Proximity readers (panel mount) | 224
| 10.16 | Proximity controllers | 0
| 10.17 | Exit Buttons | 92.8
| 10.18 | Cable replacement | 972
Total - 37 Flats per Block