School Health and Safety Inspection Checklist For use by Governors/Headteachers And Safety Representatives School Governors, Headteachers and Safety Representatives to complete their annual health and safety inspection may use this checklist. It is a template only and can be adapted to meet local circumstances. The checklist should be kept at school. There is no requirement to send it to the local education authority or the Corporate Health and Safety Unit. Issues arising from questions that produce a “no” answer can probably be addressed effectively within existing maintenance/repair arrangements. For more significant issues it may be useful to consider a risk assessment approach to determine what action is necessary.

School Health and Safety Inspection Checklist

| Name of school: |  |
| --- | --- |
| Persons involved: |  |
| Date of inspection: |  |

| Section 1 – External Areas and Play Equipment |
| --- |
|  |  | Yes | No | Comments |
| 1.1 | Are paths and playgrounds free from foreseeable trip/slip hazards? |  |  |  |
| 1.2 | Are manholes secure? |  |  |  |
| 1.3 | Are grass areas reasonably even and free of glass, needles etc? |  |  |  |
| 1.4 | Do trees/branches appear safe? |  |  |  |
| 1.5 | Is the perimeter fencing sound? |  |  |  |
| 1.6 | Is play equipment well maintained and free from sharp edges or rough surfaces? |  |  |  |

| Section 2 – Vehicles On Site |
| --- |
|  |  | Yes | No | Comments |
| 2.1 | Are traffic routes marked or signed? |  |  |  |
| 2.2 | Where possible, is there segregation of vehicles and pedestrians? |  |  |  |
| 2.3 | Is there designated parking? |  |  |  |
| 2.4 | Are there designated loading/unloading bays? |  |  |  |
| 2.5 | Are traffic warning signs and markings clear? |  |  |  |

| Section 3 – Evacuation |
| --- |
|  |  | Yes | No | Comments |
| 3.1 | Are escape routes clear of obstructions? |  |  |  |
| 3.2 | Are exit doors free from internal/external obstruction? |  |  |  |
| 3.3 | Are evacuation notices displayed adjacent to alarm call-points and key locations? |  |  |  |
| 3.4 | Are fire drills held termly? |  |  |  |
| 3.5 | Have extinguishers/alarm been serviced within last year? |  |  |  |
| 3.6 | Is the alarm audible? |  |  |  |

| Section 4 – Building Issues |
| --- |
|  |  | Yes | No | Comments |
| 4.1 | Are floors and floor coverings in good condition? |  |  |  |
| 4.2 | Are handrails on stairs sound? |  |  |  |
| 4.3 | Are door mechanisms in good working order? |  |  |  |
| 4.4 | Is safety glass used where appropriate? |  |  |  |
| 4.5 | Are facilities for people with disabilities appropriate? |  |  |  |
| 4.6 | Do gutters, down-pipes and other fixtures appear sound? |  |  |  |
| 4.7 | Do roof tiles appear secure? |  |  |  |
| 4.8 | Are security systems adequate? |  |  |  |

| Section 5 – Temperature & Ventilation |
| --- |
|  |  | Yes | No | Comments |
| 5.1 | Can a reasonable room temperature be maintained? |  |  |  |
| 5.2 | Are fans/blinds provided to alleviate high temperature? |  |  |  |
| 5.3 | Is the natural and artificial ventilation adequate? |  |  |  |

| Section 6 – Lighting |
| --- |
|  |  | Yes | No | Comments |
| 6.1 | Are all lights working? |  |  |  |
| 6.2 | Are diffusers clean? |  |  |  |
| 6.3 | Is internal lighting adequate? |  |  |  |
| 6.4 | Is external lighting adequate? |  |  |  |

| Section 7 – Electricity |
| --- |
|  |  | Yes | No | Comments |
| 7.1 | Is access to electrical system restricted to authorised persons? |  |  |  |
| 7.2 | Is there a warning sign displayed? |  |  |  |
| 7.3 | Is there an electric shock first aid poster displayed? |  |  |  |
| 7.4 | Are materials in the electrical cupboard stored in a safe manner? |  |  |  |
| 7.5 | Are portable electrical appliances tested periodically by a competent person? |  |  |  |
| 7.6 | Are plugs and leads in good condition? |  |  |  |
| 7.7 | Are socket outlets at least 1m away from running water? |  |  |  |

| Section 8 – First Aid and Medical Provision |
| --- |
|  |  | Yes | No | Comments |
| 8.1 | Are names of first aiders displayed or known? |  |  |  |
| 8.2 | Are certificates valid? |  |  |  |
| 8.3 | Are first aid boxes adequately stocked? |  |  |  |
| 8.4 | Are arrangements in place for safe disposal of body fluids and sharps? |  |  |  |
| 8.5 | Do staff wear gloves when dealing with body fluids? |  |  |  |
| 8.6 | Are staff aware of your policy for administering medicines? |  |  |  |

| Section 9 – Welfare Provision |
| --- |
|  |  | Yes | No | Comments |
| 9.1 | Are there suitable toilet facilities? |  |  |  |
| 9.2 | Are suitable washing facilities available? |  |  |  |
| 9.3 | Are the facilities adequately inspected, cleaned, ventilated and lit? |  |  |  |
| 9.4 | Have drinking water outlets been labelled? |  |  |  |
| 9.5 | Are there appropriate facilities for people who are unwell? |  |  |  |

| Section 10 – Working at Height |
| --- |
|  |  | Yes | No | Comments |
| 10.1 | Are steps or ‘kick-stools’ available and used appropriately? |  |  |  |
| 10.2 | Are ladders/scaffold towers in good condition and stored securely? |  |  |  |
| 10.3 | Are ladders/scaffold towers used by authorised persons only? |  |  |  |
| 10.4 | Is there a safe system for working at height e.g. roofs? |  |  |  |
| 10.5 | Where staff cleans windows, have safe procedures been agreed? |  |  |  |
| 10.6 | If a window-cleaning contract is used has a safe system of work been agreed? |  |  |  |

| Section 11 – Management |
| --- |
|  |  | Yes | No | Comments |
| 11.1 | Is LEA health and safety information available? |  |  |  |
| 11.2 | Do staff know of their existence? |  |  |  |
| 11.3 | Is the health and safety law poster displayed? |  |  |  |
| Section 12 – Miscellaneous |
|  |  | Yes | No | Comments |
| 12.1 | Is furniture in good condition? |  |  |  |
| 12.2 | Are wall mounted fixtures, shelving, furniture etc. in good condition and secure? |  |  |  |
| 12.3 | Is storage of small quantities of flammable/hazardous substances suitable? |  |  |  |
| 12.4 | Do office staff have enough working space? |  |  |  |
| 12.5 | Are all parts of the school maintained in a clean and tidy condition? |  |  |  |
| 12.6 | Are there adequate facilities for the safe storage and disposal of waste? |  |  |  |

Additional points you may wish to consider:

- Is the school health and safety policy up-to-date?

- In addition to this inspection, does the school review health and safety performance, e.g. monitor accidents, share information?

- Have risk assessments been completed and reviewed?